- FITC Labeling of Proteins1)

  - The following protocol can be used to label proteins with concentrations 2-10mg/ml

- Spin tube and put into dry ice to freeze

- Lyophilize

- Resuspend in Bicarbonate, pH 9. – in 5ml 100mM bicarbonate

- Set the pH of the protein solution to 9.3 via dialysis against 2L of 100mM Sodium Carbonate at 4oC for 24 hrs

  - Change the dialysis solution once during this process

- Measure OD280 of protein solution

  - Calculate Molar Concentration ([Protein] M) using OD280/extinction coefficient of Protein

- Weigh out 3-4 mg of FITC and add it to 1 mL of 100 mM Sodium Carbonate pH 9.3

- Dilute FITC solution 100x with 100mM Sodium Carbonate pH 9.3

  - Use stock and diluted FITC solution within 1-2 hrs

- Measure OD495 and OD280 of dilute FITC solution. Record rFITC = OD495/OD280

  - rFITC should be between 3 and 3.3

- Calculate Molar Concentration of FITC ([FITC] M) = OD495/extinction coefficient at pH 9.3 (73,000)

- Spin down the protein solution in bicarbonate

- Add 15-20ug of FITC per mg of protein. If [protein] is less than 5mg/ml, [FITC] should not be lower than 100ug/ml

- Incubate for 1 hr at room temperature or overnight at 4oC

- To purify, use a dialysis bag primed with 1x PBS pH 7.4 and let it sit overnight

- The first eluent with a greenish tint should be collected and saved as this is the labeled protein

- Calculate labeling ratio as follows:

  - [Protein] mg/ml = (OD280 FITC-Protein - ((OD 495 FITC-Protein)/rFITC)/1.4

  - [Protein] M = ([Protein] mg/ml)/MW Protein

  - [FITC] M = (OD495 FITC-Protein)/FITC coefficient of extinction at pH 7.4 (63,000)

  - Labeling Ratio F/P = ([FITC] M)/([Protein] M)

- For Best Results F/P should be between 2 and 4, 1 and 5 are acceptable, but not ideal

- Spin down before incubating solution with cells.