Truman State University Synthetic Biology Lab

Plasmid Isolation using QIAprep kit

- 14-18 hours before plasmid isolation, inoculate 5 ml of LB amp broth with a single colony of bacteria.  Incubate at 37 C with shaking.

- Collect cells by centrifugation at ~1000 x g for 5-10 min.  Pour the broth off into an E. coli liquid waste container. (Make sure to autoclave the waste)

- Resuspend pelleted bacterial cells in 250 µl Buffer P1 and transfer to a microcentrifuge tube.  (P1 needs to remain cold)

- Add 250 µl Buffer P2 and mix by inverting the tube 4-6 times.

- Add 350 µl Buffer N3 and mix immediately by inverting the tube 4-6 times.

- Centrifuge for 10 min at 12,000 rpm in a table-top microcentrifuge.

- Decant the supernatant into the QIAprep spin column.

- Centrifuge for 10 min at 12,000 rpm in a table-top microcentrifuge.

- Pipette the supernatant into the QIAprep spin column.

- Centrifuge for 60 sec.  Discard the flow through.

- Wash the QIAprep spin column by adding 0.5 ml Buffer PB and centrifuging for 60 sec.  Discard the flow-through.

- Wash the QIAprep spin column by adding 0.75 ml Buffer PE and centrifuging for 60 sec.  Discard the flow-through.

- Centrifuge the QIAprep spin column for an additional 1 min to remove residual wash buffer.

- Place the QIAprep column in a clean 1.5 ml microcentrifuge tube which has had its lid removed.

- To elute DNA, add 50 µl water (DEPC treated water) to the center of each QIAprep column, let stand for 1 min and centrifuge for 1 min.

- The DNA is now ready for further analysis.  Store on ice or in freezer after isolation.

# Footnotes

Modified from Dr. Brent Buckner’s “Plasmid Isolation using QIAprep kit” document.