Cell Plating for Electrophysiology

Jon Sack Feb 3, 2011

Ken Eum April 12, 2011 (Edit)

Notes: Steps should be done (not necessary if cell stock is only being used for plating cells for electrophysiology) inside of a Biological Safety Cabinet in Sterile conditions.

Procedures (in 35mm dish):

- Check under microscope to make sure that cells are less than 80% confluent

- Carefully remove (aspirate) the solution from the T-25 flask containing the cells

- Rinse with DPBS (Divalent free Dulbecco’s Phosphate Buffered Saline) ~ 5 mL

- Remove (aspirate) the DPBS solution

- Add 1 mL 0.05% Trypsin EDTA

- Place in 37° C incubator until cells detach from the dish ~ 5 min

-Check under the microscope to make sure cells have detached.  If the cells are not yet detached, lightly tap the dish against the table.

- Pipet up and down 5-10 times in the Biological Safety Cabinet

-Check under the microscope to make sure the cells are dispersed into single cells.

- Add 2 mL of Cell Media with selection agents into new 35mm dishes

- Add 1 drop of the trypsinized cells into each 35mm dish with the Cell Media

- Swirl the dish or pipet up and down

- If using Kv2.1 T-Rex CHO cells, add tetracycline (1µg/mL) for 1 hour.  After 1 hour, replace with fresh media or the external solution for electrophysiology recordings.

- Label the Dish: Name, Date, Cell Line, Passage #, Ratio

*Cell Media: Ham’s – F12 from Gibco, 10% FBS, 1% Penicillin/Streptomycin

To make add 50 mL Media + 50 mL FBS

**Cell Media with Selection Agents (Zeocin and Blasticidin)

F12 from Gibco, 10% FBS, 1% Penicillin/Streptomycin, 1/10,000 Blasticidin, 1/4,000 Zeocin