# GSFL Genotyping Protocol

## DRD2 (Dopamine receptor D2)

## Allele name:  Taq1”A”

## Type of assay:  RFLP

## Key Reference(s)

Grandy et al.

PCR detection of the Taq1”A” RFLP at the DRD2 locus

Human Molecular Genetics, 1993, Vol 2, No 12; pg 2197

## Introduction

This is one of three Taq1 RFLPs commonly genotyped in this gene.  The others are called Taq1”B” and Taq1”D”.  There is also a “CA” repeat polymorphism assay.

## Method

| Reagent | Vols for single PCR* | Vols for 48 PCRs | Final conc. |
| --- | --- | --- | --- |
| Primer 1 @ 50(M | (0.2(l | (10.4(l | (500nM |
| Primer 2 @ 50(M | ( 0.2(l | (10.4(l | 500nM |
| dNTPs @ 2mM | ( 2(l | 104((l | 200(M |
| MgCl2 @ 50mM** | ( 0.6(l | 31((l | (1.5mM |
| Buffer (10x) | ( 2(l | 104(l |  |
| Template – approx 100ng | ( 1(l | (52(l |  |
| Polymerase @ 5 units/ul | ( 0.1(l | (5.2(l |  |
| MPW | ( 13.9(l | (723(l |  |
| Total volume | (20(l | 1040(l |  |

*Theoretical - for multiplying up to required batch size.  For one or a few reactions, use more dilute oligo stocks and a larger PCR reaction volume (e.g. 25 (l).

**Not needed if 10x buffer includes 15mM MgCl2, in which case adjust final water volume accordingly.

## Polymerase

Works well with most polymerases tried, including Invitrogen Platinum, Roche standard and Eppendorf HotMaster.taq.

## Cycling parameters

94/4min x 1; 94/30”; 58/30”; 72/1 min x 30; 72/7min; 20/hold

## Primers

| Primer name | Sequence |
| --- | --- |
| D2T1AF | 5’- CACGGCTGGCCAAGTTGTCTA –3’ |
| D2T1AR | 5’- CACCTTCCTGAGTGTCATCAA –3’ |

## RFLP analysis

| Reagent | Vols for single PCR* | Vols for 48 PCRs | Final conc. |
| --- | --- | --- | --- |
| 10 x Universal Buffer | ( 1(l | (52(l | ( |
| Taq1 enzyme | ( 0.5(l | (26(l | 5 u/digest |
| BSA 100 x | ( 0.1(l | 0.52(l |  |
| MPW | ( 8.4(l | (441(l |  |
| Total volume | (10(l | 520(l |  |

- Taq1 from NEB@ 10 units per ul

- Digest in MJ-PTC 200 at 65 degrees for at least 3 hours (with sealing mat on)

## Analysis of Products

Check 5ul of reaction on 1% gel to make sure PCR has worked.  Evaporate the remaining ~15ul of reaction at 40 degrees on MJ-PTC-200 (leave lid off).  Digest dried products as above in original 96-well plate.  Analyse digests on 2% agarose/TBE gel against suitable marker.  Expect a 300bp product for the uncut allele (A1) or 125bp plus 175bp products for the cut allele (A2).

These alleles are correspondingly scored as “1” or “2”.

## Notes

Primer sequences and cycling conditions differ significantly from that of Grundy et al.

Created by: AM Wednesday, January 26, 2005

Updated by: AM Wednesday, January 26, 2005

RESULTS: DRD2 Taq1”A”

DEP Plate 1

|  |  |  |  | A | B | C | D | E | F | G | H |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 1 | D1A1 | D1A2 | D1A3 | D1A6 | D1A7 | D1A8 | D1A9 | D1A10 |
|  |  |  | 2 | D1B1 | D1B2 | D1B3 | D1B4 | D1B5 | D1B6 | D1B7 | D1B8 |

|  |  |  | 3 | D1B9 | D1B10 | D1C1 | D1C2 | D1C3 | D1C4 | D1C6 | D1C9 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

|  |  |  | 4 | D1C10 | D1D2 | D1D3 | D1D4 | D1D5 | D1D6 | D1D7 | D1D8 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

|  |  |  | 5 | D1D9 | D1D10 | D1E1 | D1E2 | D1E4 | D1E5 | D1E6 | D1E7 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

|  |  |  | 6 | D1E8 | D1E9 | D1E10 | D2A1 | D2A2 | D2A3 | D2A4 | MPW |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

RESULTS: DRD2 Taq1”A”

DEP Plate 2

|  |  |  |  | A | B | C | D | E | F | G | H |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 1 | D2A5 | D2A6 | D2A7 | D2A8 | D2A10 | 2DB1 | D2B2 | D2B3 |

|  |  |  | 2 | D2B4 | D2B6 | D2B7 | D2B8 | D2B9 | D2B10 | D2C1 | D2C2 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

|  |  |  | 3 | D2C3 | D2C4 | D2C5 | D2C6 | D2C7 | D2C8 | D2C9 | D2C10 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

|  |  |  | 4 | D2D1 | D1D2 | D2D3 | D2D4 | D2D5 | D2D6 | D2D7 | D2D8 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

|  |  |  | 5 | D2D9 | D2D10 | D2E1 | D2E2 | D2E3 | D2E4 | D2E5 | D2E6 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

|  |  |  | 6 | D2E7 | D2E8 | D2E9 | D2E10 | D3A1 | D3A2 | D3A3 | MPW |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

RESULTS: DRD2 Taq1”A”

DEP Plate 3

|  |  |  |  | A | B | C | D | E | F | G | H |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

|  |  |  | 1 | D3A4 | D3A5 | D3A7 | D3A8 | D3A9 | D3A10 | MPW | D3B2 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

|  |  |  | 2 | D3B3 | D3B4 | D3B5 | D3B6 | D3B7 | D3B8 | D3B9 | D3B10 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

|  |  |  | 3 | D3C1 | D3C2 | D3C3 | D3C4 | D3C5 | D3C6 | D3C7 | D3C8 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

|  |  |  | 4 | D3C9 | D3C10 | D3D1 | D3D2 | D3D3 | D3D4 | D3D5 | D3D6 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

|  |  |  | 5 | D3D7 | D3D8 | D3D10 | D3E1 | D3E2 | D3E3 | D3E5 | D3E6 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

|  |  |  | 6 | D3E7 | D4A1 | D4A2 | D4A3 | D4A4 | D4A5 | D4A6 | MPW |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

RESULTS: DRD2 Taq1”A”

DEP Plate 4

|  |  |  |  | A | B | C | D | E | F | G | H |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 1 | D4A7 | D4A8 | D4A9 | D4A10 | D4B1 | D4B2 | D4B3 | D4B4 |

|  |  |  | 2 | D4B5 | D4B6 | D4B7 | D4B8 | D4B9 | D4B10 | D4C1 | D4C2 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

|  |  |  | 3 | D4C3 | D4C4 | D4C5 | D4C6 | D4C7 | D4C8 | D4C10 | D4D1 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

|  |  |  | 4 | D4D2 | D4D3 | D4D4 | D4D5 | D4D6 | D4D7 | D4D8 | D4D9 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

|  |  |  | 5 | D4D10 | D4E1 | D4E2 | D4E3 | MPW |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

# Text boxes

A1A1

A2A1

300bp

125bp

175bp