## Peanut
Flow2 CAST® Testing: Peanut
Patients: |  | No xy
Allergens: |  | Peanut extract (BAG-F13) |  |  | Ara h 1 | Ara h 2 | Ara h 6
Flow2 CAST® (FK-CCR) Whole Blood Protocol
Allergen Dilutions:
[6 empty] | conc (ug/ml) | conc (ug/ml)
Peanut Lot RD0503 |  | 1.1 | ug/vial | ul |  | Stock | Stimul.
c1 | F13 L3 c1 | Recostitute with |  | 250 | CCR-STB | 4.4 | 1
c2 | F13 L3 c2 | 50 | ul of c1 + | 200 | CCR-STB | 0.88 | 0.2
c3 | F13 L3 c3 | 50 | ul of c2 + | 200 | CCR-STB | 0.176 | 0.04
c4 | F13 L3 c4 | 50 | ul of c3 + | 200 | CCR-STB | 0.0352 | 0.008
c5 | F13 L3 c5 | 50 | ul of c4 + | 200 | CCR-STB | 0.00704 | 0.0016
Peanut Lot RD0504 |  | 1.1 | ug/vial | ul |  | Stock | Stimul.
c1 | F13 L4 c1 | Recostitute with |  | 250 | CCR-STB | 4.4 | 1
c2 | F13 L4 c2 | 50 | ul of c1 + | 200 | CCR-STB | 0.88 | 0.2
c3 | F13 L4 c3 | 50 | ul of c2 + | 200 | CCR-STB | 0.176 | 0.04
c4 | F13 L4 c4 | 50 | ul of c3 + | 200 | CCR-STB | 0.0352 | 0.008
c5 | F13 L4 c5 | 50 | ul of c4 + | 200 | CCR-STB | 0.00704 | 0.0016
Peanut Lot RD0505 |  | 1.1 | ug/vial | ul |  | Stock | Stimul.
c1 | F13 L5 c1 | Recostitute with |  | 250 | CCR-STB | 4.4 | 1
c2 | F13 L5 c2 | 50 | ul of c1 + | 200 | CCR-STB | 0.88 | 0.2
c3 | F13 L5 c3 | 50 | ul of c2 + | 200 | CCR-STB | 0.176 | 0.04
c4 | F13 L5 c4 | 50 | ul of c3 + | 200 | CCR-STB | 0.0352 | 0.008
c5 | F13 L5 c5 | 50 | ul of c4 + | 200 | CCR-STB | 0.00704 | 0.0016
Ara h 1 |  | 0.44 | ug/vial | ul |  | Stock | Stimul.
c1 | ARAH1 c1 | Recostitute with |  | 250 | CCR-STB | 1.76 | 0.4
c2 | ARAH1 c2 | 50 | ul of c1 + | 200 | CCR-STB | 0.352 | 0.08
c3 | ARAH1 c3 | 50 | ul of c2 + | 200 | CCR-STB | 0.0704 | 0.016
c4 | ARAH1 c4 | 50 | ul of c3 + | 200 | CCR-STB | 0.01408 | 0.0032
c5 | ARAH1 c5 | 50 | ul of c4 + | 200 | CCR-STB | 0.002816 | 0.00064
Ara h 2 |  | 0.44 | ug/vial | ul |  | Stock | Stimul.
c1 | ARAH2 c1 | Recostitute with |  | 250 | CCR-STB | 1.76 | 0.4
c2 | ARAH2 c2 | 50 | ul of c1 + | 200 | CCR-STB | 0.352 | 0.08
c3 | ARAH2 c3 | 50 | ul of c2 + | 200 | CCR-STB | 0.0704 | 0.016
c4 | ARAH2 c4 | 50 | ul of c3 + | 200 | CCR-STB | 0.01408 | 0.0032
c5 | ARAH2 c5 | 50 | ul of c4 + | 200 | CCR-STB | 0.002816 | 0.00064
Ara h 6 |  | 0.44 | ug/vial | ul |  | Stock | Stimul.
c1 | ARAH6 c1 | Recostitute with |  | 250 | CCR-STB | 1.76 | 0.4
c2 | ARAH6 c2 | 50 | ul of c1 + | 200 | CCR-STB | 0.352 | 0.08
c3 | ARAH6 c3 | 50 | ul of c2 + | 200 | CCR-STB | 0.0704 | 0.016
c4 | ARAH6 c4 | 50 | ul of c3 + | 200 | CCR-STB | 0.01408 | 0.0032
c5 | ARAH6 c5 | 50 | ul of c4 + | 200 | CCR-STB | 0.002816 | 0.00064
Stimulation & Labelling
Tube # | Name | Stimulation-buffer | EDTA- Whole blood | Stimulus/allergen |  | Dye | Stimulation
|  | CCR-STB |  |  |  | CCR-SR
1 | PB | 100 ul | 50 ul | 50 ul | CCR-STB | 20 ul | 15' 37°C
2 | PB | 100 ul | 50 ul | 50 ul | CCR-STB | 20 ul | 15' 37°C
3 | F13 L3 c1 | 100 ul | 50 ul | 50 ul | F13 L3 c1 | 20 ul | 15' 37°C
4 | F13 L3 c2 | 100 ul | 50 ul | 50 ul | F13 L3 c2 | 20 ul | 15' 37°C
5 | F13 L3 c3 | 100 ul | 50 ul | 50 ul | F13 L3 c3 | 20 ul | 15' 37°C
6 | F13 L3 c4 | 100 ul | 50 ul | 50 ul | F13 L3 c4 | 20 ul | 15' 37°C
7 | F13 L3 c5 | 100 ul | 50 ul | 50 ul | F13 L3 c5 | 20 ul | 15' 37°C
8 | F13 L4 c1 | 100 ul | 50 ul | 50 ul | F13 L4 c1 | 20 ul | 15' 37°C
9 | F13 L4 c2 | 100 ul | 50 ul | 50 ul | F13 L4 c2 | 20 ul | 15' 37°C
10 | F13 L4 c3 | 100 ul | 50 ul | 50 ul | F13 L4 c3 | 20 ul | 15' 37°C
11 | F13 L4 c4 | 100 ul | 50 ul | 50 ul | F13 L4 c4 | 20 ul | 15' 37°C
12 | F13 L4 c5 | 100 ul | 50 ul | 50 ul | F13 L4 c5 | 20 ul | 15' 37°C
13 | F13 L5 c1 | 100 ul | 50 ul | 50 ul | F13 L5 c1 | 20 ul | 15' 37°C
14 | F13 L5 c2 | 100 ul | 50 ul | 50 ul | F13 L5 c2 | 20 ul | 15' 37°C
15 | F13 L5 c3 | 100 ul | 50 ul | 50 ul | F13 L5 c3 | 20 ul | 15' 37°C
16 | F13 L5 c4 | 100 ul | 50 ul | 50 ul | F13 L5 c4 | 20 ul | 15' 37°C
17 | F13 L5 c5 | 100 ul | 50 ul | 50 ul | F13 L5 c5 | 20 ul | 15' 37°C
18 | ARAH1 c1 | 100 ul | 50 ul | 50 ul | ARAH1 c1 | 20 ul | 15' 37°C
19 | ARAH1 c2 | 100 ul | 50 ul | 50 ul | ARAH1 c2 | 20 ul | 15' 37°C
20 | ARAH1 c3 | 100 ul | 50 ul | 50 ul | ARAH1 c3 | 20 ul | 15' 37°C
21 | ARAH1 c4 | 100 ul | 50 ul | 50 ul | ARAH1 c4 | 20 ul | 15' 37°C
22 | ARAH1 c5 | 100 ul | 50 ul | 50 ul | ARAH1 c5 | 20 ul | 15' 37°C
23 | ARAH2 c1 | 100 ul | 50 ul | 50 ul | ARAH2 c1 | 20 ul | 15' 37°C
24 | ARAH2 c2 | 100 ul | 50 ul | 50 ul | ARAH2 c2 | 20 ul | 15' 37°C
25 | ARAH2 c3 | 100 ul | 50 ul | 50 ul | ARAH2 c3 | 20 ul | 15' 37°C
26 | ARAH2 c4 | 100 ul | 50 ul | 50 ul | ARAH2 c4 | 20 ul | 15' 37°C
27 | ARAH2 c5 | 100 ul | 50 ul | 50 ul | ARAH2 c5 | 20 ul | 15' 37°C
28 | ARAH6 c1 | 100 ul | 50 ul | 50 ul | ARAH6 c1 | 20 ul | 15' 37°C
29 | ARAH6 c2 | 100 ul | 50 ul | 50 ul | ARAH6 c2 | 20 ul | 15' 37°C
30 | ARAH6 c3 | 100 ul | 50 ul | 50 ul | ARAH6 c3 | 20 ul | 15' 37°C
31 | ARAH6 c4 | 100 ul | 50 ul | 50 ul | ARAH6 c4 | 20 ul | 15' 37°C
32 | ARAH6 c5 | 100 ul | 50 ul | 50 ul | ARAH6 c5 | 20 ul | 15' 37°C
33 | PC | 100 ul | 50 ul | 50 ul | CCR-STCON | 20 ul | 15' 37°C
34 | fMLP | 100 ul | 50 ul | 50 ul | CCR-FMLP | 20 ul | 15' 37°C
Lysis
Add to all tubes 2 ml Lysing Reagent
Incubate 5-10 min and centrifuge for 5 min at 500 x g
Decant the supernatant
Resuspend cells with 300 - 800 µl of Wash Buffer
Proceed to analysis within 8 hours
Count 800 - 1000 Basophilic cells (within CCR3-gate)
Blood consumption |  |  | Whole Blood (ul): | 1700